## Slide 1: Resolution Sweep
Kumar

## Slide 2: Details
Bias voltage sweep from 41 to 44.5 V in steps of 0.1 V
Shaping time sweep from 12.5 to 87.5 ns in steps of 12.5 ns
Runs length of 1 min, run sleep of 15 s
Resolution = µ/σ
  µ is the Gaussian Mean of the LED run
  Σ is the Gaussian Standard Deviation of the Pedestal Run

## Slide 3: Apparatus
SiPm
LED
Distance ~ 40 cm
LED Intensity – 8.60
Frequency - Low

## Slide 4: Final sweep up sample
Pedestal
LED

## Slide 5: Final sweep down sample
Pedestal
LED

## Slide 6: Preliminary sweep up results, Intensity - 10

## Slide 7: Sweep up Results

## Slide 8: Sweep down Results

## Slide 9: Potential problems
Issues with the Janus Software saving last run information files
  Need to repeat the runs
Appropriate fit functions for data, especially for pedestal runs
Resolution is also sensitive to intensity of the LED, may need to investigate further